## Hoja1
CI Identification | Item Name | Acronym | Level | System | SubSystem | Module | Unit | Assemblie | SubAssemblie | Component
300000 - 0000 | Calibration and Relay System | CARS | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0
310000 - 0000 | Calibration Module | CM | 2 | 3 | 1 | 0 | 0 | 0 | 0 | 0
311000 - 0000 | Intentionally Blank |  | 3 | 3 | 1 | 1 | 0 | 0 | 0 | 0
312000 - 0000 | Intentionally Blank |  | 3 | 3 | 1 | 2 | 0 | 0 | 0 | 0
313000 - 0000 | Intentionally Blank |  | 3 | 3 | 1 | 3 | 0 | 0 | 0 | 0
314000 - 0000 | Intentionally Blank |  | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0
315000 - 0000 | IFS Calibration Unit | ICU | 3 | 3 | 1 | 5 | 0 | 0 | 0 | 0
315100 - 0000 | ICU Uniform Source Assembly | IUSA | 4 | 3 | 1 | 5 | 1 | 0 | 0 | 0
315110 - 0000 | ICU Integrating Sphere | CM IIS | 5 | 3 | 1 | 5 | 1 | 1 | 0 | 0
315111 - 0000 | ICU Integrating Sphere Structure | CM IISS | 6 | 3 | 1 | 5 | 1 | 1 | 1 | 0
315111 - 0001 | ICU Integrating Sphere Temperature Sensor | CM ISTS | 7 | 3 | 1 | 5 | 1 | 1 | 1 | 1
315112 - 0000 | Integrating Sphere Detector | CM ISD | 6 | 3 | 1 | 5 | 1 | 1 | 2 | 0
315113 - 0000 | Variable Attenuator Ar | CM VA Ar | 6 | 3 | 1 | 5 | 1 | 1 | 3 | 0
315113 - 0001 | Variable Attenuator Iris Ar | CM VAI Ar | 7 | 3 | 1 | 5 | 1 | 1 | 3 | 1
315113 - 0002 | Variable Attenuators Stepper Motor Ar | CM VAM Ar | 7 | 3 | 1 | 5 | 1 | 1 | 3 | 2
315113 - 0003 | Variable Attenuators Encoder Ar | CM VAE Ar | 7 | 3 | 1 | 5 | 1 | 1 | 3 | 3
315114 - 0000 | Variable Attenuator Xe | CM VA Xe | 6 | 3 | 1 | 5 | 1 | 1 | 4 | 0
315114 - 0001 | Variable Attenuator Iris Xe | CM VAI Xe | 7 | 3 | 1 | 5 | 1 | 1 | 4 | 1
315114 - 0002 | Variable Attenuators Stepper Motor Xe | CM VAM Xe | 7 | 3 | 1 | 5 | 1 | 1 | 4 | 2
315114 - 0003 | Variable Attenuators Encoder Xe | CM VAE Xe | 7 | 3 | 1 | 5 | 1 | 1 | 4 | 3
315115 - 0000 | Variable Attenuator Kr | CM VA Kr | 6 | 3 | 1 | 5 | 1 | 1 | 5 | 0
315115 - 0001 | Variable Attenuator Iris Kr | CM VAI Kr | 7 | 3 | 1 | 5 | 1 | 1 | 5 | 1
315115 - 0002 | Variable Attenuators Stepper Motor Kr | CM VAM Kr | 7 | 3 | 1 | 5 | 1 | 1 | 5 | 2
315115 - 0003 | Variable Attenuators Encoder Kr | CM VAE Kr | 7 | 3 | 1 | 5 | 1 | 1 | 5 | 3
315116 - 0000 | Variable Attenuator Ne | CM VA Ne | 6 | 3 | 1 | 5 | 1 | 1 | 6 | 0
315116 - 0001 | Variable Attenuator Iris Ne | CM VAI Ne | 7 | 3 | 1 | 5 | 1 | 1 | 6 | 1
315116 - 0002 | Variable Attenuators Stepper Motor Ne | CM VAM Ne | 7 | 3 | 1 | 5 | 1 | 1 | 6 | 2
315116 - 0003 | Variable Attenuators Encoder Ne | CM VAE Ne | 7 | 3 | 1 | 5 | 1 | 1 | 6 | 3
315117 - 0000 | Variable Attenuator QTH | CM VA Q | 6 | 3 | 1 | 5 | 1 | 1 | 7 | 0
315117 - 0001 | Variable Attenuator Iris QTH | CM VAI Q | 7 | 3 | 1 | 5 | 1 | 1 | 7 | 1
315117 - 0002 | Variable Attenuators Stepper Motor QTH | CM VAM Q | 7 | 3 | 1 | 5 | 1 | 1 | 7 | 2
315117 - 0003 | Variable Attenuators Encoder QTH | CM VAE Q | 7 | 3 | 1 | 5 | 1 | 1 | 7 | 3
315120 - 0000 | IFS Light Sources | CM ILS | 5 | 3 | 1 | 5 | 1 | 2 | 0 | 0
315121 - 0000 | Discrete Lamps | CM DL | 6 | 3 | 1 | 5 | 1 | 2 | 1 | 0
315121 - 0001 | Ar lamp | CM LAr | 7 | 3 | 1 | 5 | 1 | 2 | 1 | 1
315121 - 0002 | Kr lamp | CM LKr | 7 | 3 | 1 | 5 | 1 | 2 | 1 | 2
315121 - 0003 | Ne lamp | CM LNe | 7 | 3 | 1 | 5 | 1 | 2 | 1 | 3
315121 - 0004 | Xe lamp | CM LXe | 7 | 3 | 1 | 5 | 1 | 2 | 1 | 4
315121 - 0005 | Ar lamp photodiode | CM LAr Ph | 7 | 3 | 1 | 5 | 1 | 2 | 1 | 5
315121 - 0006 | Kr lamp photodiode | CM LKr Ph | 7 | 3 | 1 | 5 | 1 | 2 | 1 | 6
315121 - 0007 | Ne lamp photodiode | CM LNe Ph | 7 | 3 | 1 | 5 | 1 | 2 | 1 | 7
315121 - 0008 | Xe lamp photodiode | CM LXe Ph | 7 | 3 | 1 | 5 | 1 | 2 | 1 | 8
315122 - 0000 | Continuum Lamps | CM CL | 6 | 3 | 1 | 5 | 1 | 2 | 2 | 0
315122 - 0001 | Continuum QTH Lamp | CM LQTH | 7 | 3 | 1 | 5 | 1 | 2 | 2 | 1
315122 - 0002 | Continuum QTH Lamp Photodiode | CM LQTH Ph | 7 | 3 | 1 | 5 | 1 | 2 | 2 | 2
315123 - 0000 | Satellite Lamps Support | CM SLS | 6 | 3 | 1 | 5 | 1 | 2 | 3 | 0
315123 - 0001 | Injection mirrors Discrete Lamp Ar | CM SIM Ar | 7 | 3 | 1 | 5 | 1 | 2 | 3 | 1
315123 - 0002 | Injection mirrors Discrete Lamp Kr | CM SIM Kr | 7 | 3 | 1 | 5 | 1 | 2 | 3 | 2
315123 - 0003 | Injection mirrors Discrete Lamp Ne | CM SIM Ne | 7 | 3 | 1 | 5 | 1 | 2 | 3 | 3
315123 - 0004 | Injection mirrors Discrete Lamp Xe | CM SIM Xe | 7 | 3 | 1 | 5 | 1 | 2 | 3 | 4
315123 - 0005 | Injection mirror Continuum Lamp QTH | CM SIM Q | 7 | 3 | 1 | 5 | 1 | 2 | 3 | 5
315130 - 0000 | Integrating Sphere Support | CM ISS | 5 | 3 | 1 | 5 | 1 | 3 | 0 | 0
315200 - 0000 | Filter Wheel Assembly | FWA | 4 | 3 | 1 | 5 | 2 | 0 | 0 | 0
315210 - 0000 | Filters Subassembly | CM FWFA | 5 | 3 | 1 | 5 | 2 | 1 | 0 | 0
315211 - 0000 | Equalized Filters | CM FW F | 6 | 3 | 1 | 5 | 2 | 1 | 1 | 0
315211 - 0001 | Equalized Filter - VIS | CM FW FVIS | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 1
315211 - 0002 | Equalized Filter - LR1 | CM FW FLR1 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 2
315211 - 0003 | Equalized Filter - LR2 | CM FW FLR2 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 3
315211 - 0004 | Equalized Filter - MR1 | CM FW FMR1 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 4
315211 - 0005 | Equalized Filter - MR2 | CM FW FMR2 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 5
315211 - 0006 | Equalized Filter - MR3 | CM FW FMR3 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 6
315211 - 0007 | Equalized Filter - MR4 | CM FW FMR4 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 7
315211 - 0008 | Equalized Filter - HR1 | CM FW FHR1 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 8
315211 - 0009 | Equalized Filter - HR2 | CM FW FHR2 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 9
315211 - 0010 | Equalized Filter - HR3 | CM FW FHR3 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 10
315211 - 0011 | Equalized Filter - HR4 | CM FW FHR4 | 7 | 3 | 1 | 5 | 2 | 1 | 1 | 11
315212 - 0000 | Equalized Filters Frames | CM FW FF | 6 | 3 | 1 | 5 | 2 | 1 | 2 | 0
315220 - 0000 | Filter wheel Motorized Support | CM FW MS | 5 | 3 | 1 | 5 | 2 | 2 | 0 | 0
315221 - 0000 | Rotary Wheel Disk | CM FW RWD | 6 | 3 | 1 | 5 | 2 | 2 | 1 | 0
315221 - 0001 | Rotary Disk | CM FW RD | 7 | 3 | 1 | 5 | 2 | 2 | 1 | 1
315221 - 0002 | Rotary Disk Cover | CM FW RC | 7 | 3 | 1 | 5 | 2 | 2 | 1 | 2
315222 - 0000 | Rotary Stage | CM FW RS | 6 | 3 | 1 | 5 | 2 | 2 | 2 | 0
315223 - 0000 | Rotary Wheel Support Structure | CM FW RSS | 6 | 3 | 1 | 5 | 2 | 2 | 3 | 0
315300 - 0000 | Relay Optics Assembly | ROA | 4 | 3 | 1 | 5 | 3 | 0 | 0 | 0
315310 - 0000 | M1 SubAssembly | CM RO M1A | 5 | 3 | 1 | 5 | 3 | 1 | 0 | 0
315311 - 0000 | M1 Mirror | CM RO M1 | 6 | 3 | 1 | 5 | 3 | 1 | 1 | 0
315312 - 0000 | M1 Gimbal Mounting | CM RO M1G | 6 | 3 | 1 | 5 | 3 | 1 | 2 | 0
315320 - 0000 | M2 SubAssembly | CM RO M2A | 5 | 3 | 1 | 5 | 3 | 2 | 0 | 0
315321 - 0000 | M2 Mirror | CM RO M2 | 6 | 3 | 1 | 5 | 3 | 2 | 1 | 0
315322 - 0000 | M2 Gimbal Mounting | CM RO M2G | 6 | 3 | 1 | 5 | 3 | 2 | 2 | 0
315330 - 0000 | M3 SubAssembly | CM RO M3A | 5 | 3 | 1 | 5 | 3 | 3 | 0 | 0
315331 - 0000 | M3 Mirror | CM RO M3 | 6 | 3 | 1 | 5 | 3 | 3 | 1 | 0
315332 - 0000 | M3 Gimbal Mounting | CM RO M3G | 6 | 3 | 1 | 5 | 3 | 3 | 2 | 0
315340 - 0000 | FM1 SubAssembly | CM RO FM1A | 5 | 3 | 1 | 5 | 3 | 4 | 0 | 0
315341 - 0000 | Folding Mirror 1 | CM RO FM1 | 6 | 3 | 1 | 5 | 3 | 4 | 1 | 0
315342 - 0000 | FM1 Mounting | CM RO FM1M | 6 | 3 | 1 | 5 | 3 | 4 | 2 | 0
315350 - 0000 | FM2 SubAssembly | CM RO FM2A | 5 | 3 | 1 | 5 | 3 | 5 | 0 | 0
315351 - 0000 | Folding Mirror 2 | CM RO FM2 | 6 | 3 | 1 | 5 | 3 | 5 | 1 | 0
315352 - 0000 | FM2 Mounting | CM RO FM2M | 6 | 3 | 1 | 5 | 3 | 5 | 2 | 0
315360 - 0000 | FM3 SubAssembly | CM RO FM3A | 5 | 3 | 1 | 5 | 3 | 6 | 0 | 0
315361 - 0000 | Folding Mirror 3 | CM RO FM3 | 6 | 3 | 1 | 5 | 3 | 6 | 1 | 0
315362 - 0000 | FM3 Mounting | CM RO FM3M | 6 | 3 | 1 | 5 | 3 | 6 | 2 | 0
315370 - 0000 | Pupil SubAssembly | CM RO PA | 5 | 3 | 1 | 5 | 3 | 7 | 0 | 0
315371 - 0000 | Pupil Mask | CM RO PM | 6 | 3 | 1 | 5 | 3 | 7 | 1 | 0
315372 - 0000 | PM Mounting | CM RO PMM | 6 | 3 | 1 | 5 | 3 | 7 | 2 | 0
315380 - 0000 | Relay Optics Support Structure | CM RO SS | 5 | 3 | 1 | 5 | 3 | 8 | 0 | 0
315381 - 0000 | Relay Optics Bench | CM RO B | 6 | 3 | 1 | 5 | 3 | 8 | 1 | 0
315381 - 0001 | Relay Optics Thermal Sensor | CM RO TS | 7 | 3 | 1 | 5 | 3 | 8 | 1 | 1
315382 - 0000 | Relay Optics Baffles | CM RO BA | 6 | 3 | 1 | 5 | 3 | 8 | 2 | 0
315382 - 0001 | Relay Optics Baffle-1 | CM RO BA1 | 7 | 3 | 1 | 5 | 3 | 8 | 2 | 1
315382 - 0002 | Relay Optics Baffle-2 | CM RO BA2 | 7 | 3 | 1 | 5 | 3 | 8 | 2 | 2
315383 - 0000 | Relay Optics Post | CM RO P | 6 | 3 | 1 | 5 | 3 | 8 | 3 | 0
315400 - 0000 | Calibration Mask Wheel Assembly | CMWA | 4 | 3 | 1 | 5 | 4 | 0 | 0 | 0
315410 - 0000 | Calibration Masks SubAssembly | CM MW SA | 5 | 3 | 1 | 5 | 4 | 1 | 0 | 0
315411 - 0000 | Open Mask Set | CM MW OMS | 6 | 3 | 1 | 5 | 4 | 1 | 1 | 0
315411 - 0001 | Open Mask | CM MW OM | 7 | 3 | 1 | 5 | 4 | 1 | 1 | 1
315411 - 0002 | Open Mask Frame | CM MW OMF | 7 | 3 | 1 | 5 | 4 | 1 | 1 | 2
315411 - 0003 | Open Mask Mount | CM MW OMM | 7 | 3 | 1 | 5 | 4 | 1 | 1 | 3
315411 - 0004 | Open Mask Alignment Pins | CM MW OMP | 7 | 3 | 1 | 5 | 4 | 1 | 1 | 4
315412 - 0000 | 4mas Masks Set | CM MW M4S | 6 | 3 | 1 | 5 | 4 | 1 | 2 | 0
315412 - 0001 | Pinholes Mask 4mas | CM MW PM4 | 7 | 3 | 1 | 5 | 4 | 1 | 2 | 1
315412 - 0002 | Pinholes Mask 4mas Frame | CM MW PM4F | 7 | 3 | 1 | 5 | 4 | 1 | 2 | 2
315412 - 0003 | Pinholes Mask 4mas Mount | CM MW PM4M | 7 | 3 | 1 | 5 | 4 | 1 | 2 | 3
315412 - 0004 | Pinholes Mask 4mas Alignment Pin | CM MW PM4P | 7 | 3 | 1 | 5 | 4 | 1 | 2 | 4
315412 - 0005 | Traces Mask 4mas | CM MW TM4 | 7 | 3 | 1 | 5 | 4 | 1 | 2 | 5
315412 - 0006 | Traces Mask 4mas Frame | CM MW TM4F | 7 | 3 | 1 | 5 | 4 | 1 | 2 | 6
315412 - 0007 | Traces Mask 4mas Mount | CM MW TM4M | 7 | 3 | 1 | 5 | 4 | 1 | 2 | 7
315412 - 0008 | Traces Mask 4mas Alignment Pin | CM MW TM4P | 7 | 3 | 1 | 5 | 4 | 1 | 2 | 8
315413 - 0000 | 10mas Masks Set | CM MW M10S | 6 | 3 | 1 | 5 | 4 | 1 | 3 | 0
315413 - 0001 | Pinholes Mask 10mas | CM MW PM10 | 7 | 3 | 1 | 5 | 4 | 1 | 3 | 1
315413 - 0002 | Pinholes Mask 10mas Frame | CM MW PM10F | 7 | 3 | 1 | 5 | 4 | 1 | 3 | 2
315413 - 0003 | Pinholes Mask 10mas Mount | CM MW PM10M | 7 | 3 | 1 | 5 | 4 | 1 | 3 | 3
315413 - 0004 | Pinholes Mask 10mas Alignment Pin | CM MW PM10P | 7 | 3 | 1 | 5 | 4 | 1 | 3 | 4
315413 - 0005 | Traces Mask 10mas | CM MW TM10 | 7 | 3 | 1 | 5 | 4 | 1 | 3 | 5
315413 - 0006 | Traces Mask 10mas Frame | CM MW TM10F | 7 | 3 | 1 | 5 | 4 | 1 | 3 | 6
315413 - 0007 | Traces Mask 10mas Mount | CM MW TM10M | 7 | 3 | 1 | 5 | 4 | 1 | 3 | 7
315413 - 0008 | Traces Mask 10mas Alignment Pin | CM MW TM10P | 7 | 3 | 1 | 5 | 4 | 1 | 3 | 8
315414 - 0000 | 20mas Masks Set | CM MW M20S | 6 | 3 | 1 | 5 | 4 | 1 | 4 | 0
315414 - 0001 | Pinholes Mask 20mas | CM MW PM20 | 7 | 3 | 1 | 5 | 4 | 1 | 4 | 1
315414 - 0002 | Pinholes Mask 20mas Frame | CM MW PM20F | 7 | 3 | 1 | 5 | 4 | 1 | 4 | 2
315414 - 0003 | Pinholes Mask 20mas Mount | CM MW PM20M | 7 | 3 | 1 | 5 | 4 | 1 | 4 | 3
315414 - 0004 | Pinholes Mask 20mas Alignment Pin | CM MW PM20P | 7 | 3 | 1 | 5 | 4 | 1 | 4 | 4
315414 - 0005 | Traces Mask 20mas | CM MW TM20 | 7 | 3 | 1 | 5 | 4 | 1 | 4 | 5
315414 - 0006 | Traces Mask 20mas Frame | CM MW TM20F | 7 | 3 | 1 | 5 | 4 | 1 | 4 | 6
315414 - 0007 | Traces Mask 20mas Mount | CM MW TM20M | 7 | 3 | 1 | 5 | 4 | 1 | 4 | 7
315414 - 0008 | Traces Mask 20mas Alignment Pin | CM MW TM20P | 7 | 3 | 1 | 5 | 4 | 1 | 4 | 8
315415 - 0000 | 30x60mas Masks Set | CM MW M30S | 6 | 3 | 1 | 5 | 4 | 1 | 5 | 0
315415 - 0001 | Pinholes Mask 30x60mas | CM MW PM30 | 7 | 3 | 1 | 5 | 4 | 1 | 5 | 1
315415 - 0002 | Pinholes Mask 30x60mas Frame | CM MW PM30F | 7 | 3 | 1 | 5 | 4 | 1 | 5 | 2
315415 - 0003 | Pinholes Mask 30x60mas Mount | CM MW PM30M | 7 | 3 | 1 | 5 | 4 | 1 | 5 | 3
315415 - 0004 | Pinholes Mask 30x60mas Alignment Pin | CM MW PM30P | 7 | 3 | 1 | 5 | 4 | 1 | 5 | 4
315415 - 0005 | Traces Mask 30x60mas | CM MW TM30 | 7 | 3 | 1 | 5 | 4 | 1 | 5 | 5
315415 - 0006 | Traces Mask 30x60mas Frame | CM MW TM30F | 7 | 3 | 1 | 5 | 4 | 1 | 5 | 6
315415 - 0007 | Traces Mask 30x60mas Mount | CM MW TM30M | 7 | 3 | 1 | 5 | 4 | 1 | 5 | 7
315415 - 0008 | Traces Mask 30x60mas Alignment Pin | CM MW TM30P | 7 | 3 | 1 | 5 | 4 | 1 | 5 | 8
315416 - 0000 | Close Mask Set | CM MW CMS | 6 | 3 | 1 | 5 | 4 | 1 | 6 | 0
315416 - 0001 | Close Mask | CM MW CM | 7 | 3 | 1 | 5 | 4 | 1 | 6 | 1
315416 - 0002 | Close Mask Frame | CM MW CMF | 7 | 3 | 1 | 5 | 4 | 1 | 6 | 2
315416 - 0003 | Close Mask Mount | CM MW CMM | 7 | 3 | 1 | 5 | 4 | 1 | 6 | 3
315416 - 0004 | Close Mask Alignment Pins | CM MW CMP | 7 | 3 | 1 | 5 | 4 | 1 | 6 | 4
315420 - 0000 | Calibration Mask Wheel Motorized Support | CM MW MS | 5 | 3 | 1 | 5 | 4 | 2 | 0 | 0
315421 - 0000 | Rotary Wheel Disk | CM MW D | 6 | 3 | 1 | 5 | 4 | 2 | 1 | 0
315421 - 0001 | Rotary Disk | CM MW RD | 7 | 3 | 1 | 5 | 4 | 2 | 1 | 1
315421 - 0002 | Rotary Disk Cover | CM MW DC | 7 | 3 | 1 | 5 | 4 | 2 | 1 | 2
315422 - 0000 | Rotary Stage | CM MW RS | 6 | 3 | 1 | 5 | 4 | 2 | 2 | 0
315423 - 0000 | Rotary Wheel Support Structure | CM MW SS | 6 | 3 | 1 | 5 | 4 | 2 | 3 | 0
315500 - 0000 | ICU Positioning Mechanism Assembly | IPMA | 4 | 3 | 1 | 5 | 5 | 0 | 0 | 0
315510 - 0000 | ICU Positioning Stage | CM IPM PS | 5 | 3 | 1 | 5 | 5 | 1 | 0 | 0
315511 - 0000 | ICU Possitioning Stage Actuator | CM IPM PSA | 6 | 3 | 1 | 5 | 5 | 1 | 1 | 0
315511 - 0001 | ICU Possitioning Stage Motor | CM IPM PSM | 7 | 3 | 1 | 5 | 5 | 1 | 1 | 1
315511 - 0002 | ICU Possitioning Stage Motor Support | CM IPM PSMS | 7 | 3 | 1 | 5 | 5 | 1 | 1 | 2
315511 - 0003 | ICU Possitioning Stage Flexible coupling | CM IPM PSFC | 7 | 3 | 1 | 5 | 5 | 1 | 1 | 3
315511 - 0004 | ICU Possitioning Stage Shaft | CM IPM PSS | 7 | 3 | 1 | 5 | 5 | 1 | 1 | 4
315511 - 0005 | ICU Possitioning Stage Actuated Nut | CM IPM PSN | 7 | 3 | 1 | 5 | 5 | 1 | 1 | 5
315511 - 0006 | ICU Possitioning Stage Actuated Nut support | CM IPM PSNS | 7 | 3 | 1 | 5 | 5 | 1 | 1 | 6
315511 - 0007 | ICU Possitioning Stage Bearings | CM IPM PSB | 7 | 3 | 1 | 5 | 5 | 1 | 1 | 7
315511 - 0008 | ICU Possitioning Stage Bearing Support | CM IPM PSBS | 7 | 3 | 1 | 5 | 5 | 1 | 1 | 8
315512 - 0000 | ICU Possitioning Stage Feedback | CM IPM PSF | 6 | 3 | 1 | 5 | 5 | 1 | 2 | 0
315512 - 0001 | ICU Possitioning Stage Encoder head | CM IPM PSEH | 7 | 3 | 1 | 5 | 5 | 1 | 2 | 1
315512 - 0002 | ICU Possitioning Stage Encoder Guide | CM IPM PSEG | 7 | 3 | 1 | 5 | 5 | 1 | 2 | 2
315512 - 0003 | ICU Possitioning Stage Initial Limit Switch | CM IPM PSLI | 7 | 3 | 1 | 5 | 5 | 1 | 2 | 3
315512 - 0004 | ICU Possitioning Stage Final Limit Switch | CM IPM PSLF | 7 | 3 | 1 | 5 | 5 | 1 | 2 | 4
315513 - 0000 | ICU Possitioning Stage Carriage | CM IPM PSC | 6 | 3 | 1 | 5 | 5 | 1 | 3 | 0
315520 - 0000 | ICU Focussing Stage | CM IPM FS | 5 | 3 | 1 | 5 | 5 | 2 | 0 | 0
315521 - 0000 | ICU Focussing Stage Actuator | CM IPM FSA | 6 | 3 | 1 | 5 | 5 | 2 | 1 | 0
315521 - 0001 | ICU Focussing Stage Motor | CM IPM FSM | 7 | 3 | 1 | 5 | 5 | 2 | 1 | 1
315521 - 0002 | ICU Focussing Stage Motor Support | CM IPM FSMS | 7 | 3 | 1 | 5 | 5 | 2 | 1 | 2
315521 - 0003 | ICU Focussing Stage Flexible coupling | CM IPM FSFC | 7 | 3 | 1 | 5 | 5 | 2 | 1 | 3
315521 - 0004 | ICU Focussing Stage Shaft | CM IPM FSS | 7 | 3 | 1 | 5 | 5 | 2 | 1 | 4
315521 - 0005 | ICU Focussing Stage Actuated Nut | CM IPM FSN | 7 | 3 | 1 | 5 | 5 | 2 | 1 | 5
315521 - 0006 | ICU Focussing Stage Actuated Nut support | CM IPM FSNS | 7 | 3 | 1 | 5 | 5 | 2 | 1 | 6
315521 - 0007 | ICU Focussing Stage Bearings | CM IPM FSB | 7 | 3 | 1 | 5 | 5 | 2 | 1 | 7
315521 - 8000 | ICU Focussing Stage Bearing Support | CM IPM FSBS | 7 | 3 | 1 | 5 | 5 | 2 | 1 | 8000
315522 - 0000 | ICU Focussing Stage Feedback | CM IPM FSF | 6 | 3 | 1 | 5 | 5 | 2 | 2 | 0
315522 - 0001 | ICU Focussing Stage Encoder head | CM IPM FSEH | 7 | 3 | 1 | 5 | 5 | 2 | 2 | 1
315522 - 0002 | ICU Focussing Stage Encoder Guide | CM IPM FSEG | 7 | 3 | 1 | 5 | 5 | 2 | 2 | 2
315522 - 0003 | ICU Focussing Stage Initial Limit Switch | CM IPM FSLI | 7 | 3 | 1 | 5 | 5 | 2 | 2 | 3
315522 - 0004 | ICU Focussing Stage Final Limit Switch | CM IPM FSLF | 7 | 3 | 1 | 5 | 5 | 2 | 2 | 4
315523 - 0000 | ICU Focussing Stage Carriage | CM IPM FSC | 6 | 3 | 1 | 5 | 5 | 2 | 3 | 0
315530 - 0000 | ICU Positioning Mechanism Structure | CM IPM SS | 5 | 3 | 1 | 5 | 5 | 3 | 0 | 0
315531 - 0000 | ICU Possitioning Mechanism Bench | CM IPM B | 6 | 3 | 1 | 5 | 5 | 3 | 1 | 0
315531 - 0001 | ICU Positioning Mechanism Temperature Sensor | CM IPM TS | 7 | 3 | 1 | 5 | 5 | 3 | 1 | 1
315532 - 0000 | ICU Guiding Set | CM IPM G | 6 | 3 | 1 | 5 | 5 | 3 | 2 | 0
315532 - 0001 | Guiding Rail-1 | CM IPM GR1 | 7 | 3 | 1 | 5 | 5 | 3 | 2 | 1
315532 - 0002 | Guiding Rail-2 | CM IPM GR2 | 7 | 3 | 1 | 5 | 5 | 3 | 2 | 2
315532 - 0003 | Guiding Slides-1 | CM IPM GS1 | 7 | 3 | 1 | 5 | 5 | 3 | 2 | 3
315532 - 0004 | Guiding Slides-2 | CM IPM GS2 | 7 | 3 | 1 | 5 | 5 | 3 | 2 | 4
315532 - 0005 | Guiding Slides-3 | CM IPM GS3 | 7 | 3 | 1 | 5 | 5 | 3 | 2 | 5
315532 - 0006 | Guiding Slides-4 | CM IPM GS4 | 7 | 3 | 1 | 5 | 5 | 3 | 2 | 6
315600 - 0000 | ICU Output Light Assembly | IOLA | 4 | 3 | 1 | 5 | 6 | 0 | 0 | 0
315610 - 0000 | ICU Output SubAssembly | CM IOA | 5 | 3 | 1 | 5 | 6 | 1 | 0 | 0
315611 - 0000 | Folding Mirror 4 | CM IO FM4 | 6 | 3 | 1 | 5 | 6 | 1 | 1 | 0
315612 - 0000 | FM4 Mounting | CM IO FM4M | 6 | 3 | 1 | 5 | 6 | 1 | 2 | 0
315700 - 0000 | AOCU Output Light Assembly | AOOLA | 4 | 3 | 1 | 5 | 7 | 0 | 0 | 0
315710 - 0000 | AOCU Output SubAssembly | CM AOOA | 5 | 3 | 1 | 5 | 7 | 1 | 0 | 0
315711 - 0000 | AOCU Output Folding Mirror | CM AOO FM | 6 | 3 | 1 | 5 | 7 | 1 | 1 | 0
315712 - 0000 | AOCU Output Folding Mirror Mounting | CM AOO FMM | 6 | 3 | 1 | 5 | 7 | 1 | 2 | 0
316000 - 0000 | Geometrical Calibration Unit | GCU | 3 | 3 | 1 | 6 | 0 | 0 | 0 | 0
316100 - 0000 | Technical Field Mask Assembly | GTFMA | 4 | 3 | 1 | 6 | 1 | 0 | 0 | 0
316110 - 0000 | GCU Integrating Sphere | CM GIS | 5 | 3 | 1 | 6 | 1 | 1 | 0 | 0
316120 - 0000 | Optical Fibres Bundle | CM OFB | 5 | 3 | 1 | 6 | 1 | 2 | 0 | 0
316121 - 0000 | GCU Optical Fibers Set | CM GOF | 6 | 3 | 1 | 6 | 1 | 2 | 1 | 0
316121 - 0001 | GCU Multimode Optical Fibers 150µm core-1 | CM GOF F001 | 7 | 3 | 1 | 6 | 1 | 2 | 1 | 1
316121 - 0002 | Optical Fiber Ferrule Coupling-1 | CM GOF FC001 | 7 | 3 | 1 | 6 | 1 | 2 | 1 | 2
316121 - 0945 | Optical Fibers Bundle Connector | CM GOF BC | 7 | 3 | 1 | 6 | 1 | 2 | 1 | 945
316130 - 0000 | Technical Field Mask Structure | CM GTFM | 5 | 3 | 1 | 6 | 1 | 3 | 0 | 0
316131 - 0000 | Technical Field Mask Plate | CM GTFM P | 6 | 3 | 1 | 6 | 1 | 3 | 1 | 0
316131 - 0001 | Technical Field Mask Plate Temperature Sensor 1 | CM GTFM PTS1 | 7 | 3 | 1 | 6 | 1 | 3 | 1 | 1
316131 - 0002 | Technical Field Mask Plate Temperature Sensor 2 | CM GTFM PTS2 | 7 | 3 | 1 | 6 | 1 | 3 | 1 | 2
316132 - 0000 | Technical Field Mask Support | CM GTFM S | 6 | 3 | 1 | 6 | 1 | 3 | 2 | 0
316200 - 0000 | GCU Electronics Rack Assembly | GERA | 4 | 3 | 1 | 6 | 2 | 0 | 0 | 0
316210 - 0000 | GCU Light Sources SubAssembly | CM GLSA | 5 | 3 | 1 | 6 | 2 | 1 | 0 | 0
316211 - 0000 | LED Sources | CM GLS | 6 | 3 | 1 | 6 | 2 | 1 | 1 | 0
316211 - 0001 | LED Source 1 - 680nm | CM GLS1 | 7 | 3 | 1 | 6 | 2 | 1 | 1 | 1
316211 - 0002 | LED Source 2 - 780nm | CM GLS2 | 7 | 3 | 1 | 6 | 2 | 1 | 1 | 2
316211 - 0003 | LED Source 3 - 1050nm | CM GLS3 | 7 | 3 | 1 | 6 | 2 | 1 | 1 | 3
316211 - 0004 | LED Source 1 - Photodiode | CM GLS1Ph | 7 | 3 | 1 | 6 | 2 | 1 | 1 | 4
316211 - 0005 | LED Source 2 - Photodiode | CM GLS2Ph | 7 | 3 | 1 | 6 | 2 | 1 | 1 | 5
316211 - 0006 | LED Source 3 - Photodiode | CM GLS3Ph | 7 | 3 | 1 | 6 | 2 | 1 | 1 | 6
316212 - 0000 | GCU Photodetector | CM GLD | 6 | 3 | 1 | 6 | 2 | 1 | 2 | 0
316213 - 0000 | Fiber Splitter 4x1 | CM GLFS | 6 | 3 | 1 | 6 | 2 | 1 | 3 | 0
316214 - 0000 | Optical Fiber 600µm core | CM GLOF | 6 | 3 | 1 | 6 | 2 | 1 | 4 | 0
316220 - 0000 | GCU Light Sources configuration Electronics | CM GLE | 5 | 3 | 1 | 6 | 2 | 2 | 0 | 0
316221 - 0000 | LEDs Power supply | CM GLELP | 6 | 3 | 1 | 6 | 2 | 2 | 1 | 0
316222 - 0000 | Photodetector Power Supply | CM GLEPP | 6 | 3 | 1 | 6 | 2 | 2 | 2 | 0
316223 - 0000 | Photodetector Resistance regulator | CM GLEPR | 6 | 3 | 1 | 6 | 2 | 2 | 3 | 0
316300 - 0000 | GCU Positioning Mechanism Assembly | GPMA | 4 | 3 | 1 | 6 | 3 | 0 | 0 | 0
316310 - 0000 | GCU Positioning Stage | CM GPM PS | 5 | 3 | 1 | 6 | 3 | 1 | 0 | 0
316311 - 0000 | GCU Possitioning Stage Actuator | CM GPM PSA | 6 | 3 | 1 | 6 | 3 | 1 | 1 | 0
316311 - 0001 | GCU Possitioning Stage Motor | CM GPM PSM | 7 | 3 | 1 | 6 | 3 | 1 | 1 | 1
316311 - 0002 | GCU Possitioning Stage Motor Support | CM GPM PSMS | 7 | 3 | 1 | 6 | 3 | 1 | 1 | 2
316311 - 0003 | GCU Possitioning Stage Flexible coupling | CM GPM PSFC | 7 | 3 | 1 | 6 | 3 | 1 | 1 | 3
316311 - 0004 | GCU Possitioning Stage Shaft | CM GPM PSS | 7 | 3 | 1 | 6 | 3 | 1 | 1 | 4
316311 - 0005 | GCU Possitioning Stage Actuated Nut | CM GPM PSN | 7 | 3 | 1 | 6 | 3 | 1 | 1 | 5
316311 - 0006 | GCU Possitioning Stage Actuated Nut support | CM GPM PSNS | 7 | 3 | 1 | 6 | 3 | 1 | 1 | 6
316311 - 0007 | GCU Possitioning Stage Bearings | CM GPM PSB | 7 | 3 | 1 | 6 | 3 | 1 | 1 | 7
316311 - 0008 | GCU Possitioning Stage Bearing Support | CM GPM PSBS | 7 | 3 | 1 | 6 | 3 | 1 | 1 | 8
316312 - 0000 | GCU Possitioning Stage Feedback | CM GPM PSF | 6 | 3 | 1 | 6 | 3 | 1 | 2 | 0
316312 - 0001 | GCU Possitioning Stage Encoder Head | CM GPM PSEH | 7 | 3 | 1 | 6 | 3 | 1 | 2 | 1
316312 - 0002 | GCU Possitioning Stage Encoder Guide | CM GPM PSEG | 7 | 3 | 1 | 6 | 3 | 1 | 2 | 2
316312 - 0003 | GCU Possitioning Stage Initial Limit Switch | CM GPM PSLI | 7 | 3 | 1 | 6 | 3 | 1 | 2 | 3
316312 - 0004 | GCU Possitioning Stage Final Limit Switch | CM GPM PSLF | 7 | 3 | 1 | 6 | 3 | 1 | 2 | 4
316320 - 0000 | GCU Focussing Stage | CM GPM FS | 5 | 3 | 1 | 6 | 3 | 2 | 0 | 0
316321 - 0000 | GCU Focussing Stage Actuator | CM GPM FSA | 6 | 3 | 1 | 6 | 3 | 2 | 1 | 0
316321 - 0001 | GCU Focussing Stage Motor | CM GPM FSM | 7 | 3 | 1 | 6 | 3 | 2 | 1 | 1
316321 - 0002 | GCU Focussing Stage Motor Support | CM GPM FSMS | 7 | 3 | 1 | 6 | 3 | 2 | 1 | 2
316321 - 0003 | GCU Focussing Stage Flexible coupling | CM GPM FSFC | 7 | 3 | 1 | 6 | 3 | 2 | 1 | 3
316321 - 0004 | GCU Focussing Stage Shaft | CM GPM FSS | 7 | 3 | 1 | 6 | 3 | 2 | 1 | 4
316321 - 0005 | GCU Focussing Stage Actuated Nut | CM GPM FSN | 7 | 3 | 1 | 6 | 3 | 2 | 1 | 5
316321 - 0006 | GCU Focussing Stage Actuated Nut support | CM GPM FSNS | 7 | 3 | 1 | 6 | 3 | 2 | 1 | 6
316321 - 0007 | GCU Focussing Stage Bearings | CM GPM FSB | 7 | 3 | 1 | 6 | 3 | 2 | 1 | 7
316321 - 0008 | GCU Focussing Stage Bearing Support | CM GPM FSBS | 7 | 3 | 1 | 6 | 3 | 2 | 1 | 8
316322 - 0000 | GCU Focussing Stage Feedback | CM GPM FSF | 6 | 3 | 1 | 6 | 3 | 2 | 2 | 0
316322 - 0001 | GCU Focussing Stage Encoder Head | CM GPM FSEH | 7 | 3 | 1 | 6 | 3 | 2 | 2 | 1
316322 - 0002 | GCU Focussing Stage Encoder Guide | CM GPM FSEG | 7 | 3 | 1 | 6 | 3 | 2 | 2 | 2
316322 - 0003 | GCU Focussing Stage Initial Limit Switches | CM GPM FSLI | 7 | 3 | 1 | 6 | 3 | 2 | 2 | 3
316322 - 0004 | GCU Focussing Stage Final Limit Switches | CM GPM FSLF | 7 | 3 | 1 | 6 | 3 | 2 | 2 | 4
316330 - 0000 | GCU Positioning Mechanism Structure | CM GPM SS | 5 | 3 | 1 | 6 | 3 | 3 | 0 | 0
316331 - 0000 | GCU Possitioning Mechanism Bench | CM GPM B | 6 | 3 | 1 | 6 | 3 | 3 | 1 | 0
316331 - 0001 | GCU Positioning Mechanism Temperature Sensor | CM GPM TS | 7 | 3 | 1 | 6 | 3 | 3 | 1 | 1
316332 - 0000 | GCU Guiding Set | CM GPM G | 6 | 3 | 1 | 6 | 3 | 3 | 2 | 0
316332 - 0001 | GCU Positioning Guiding Rail-1 | CM GPM PGR1 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 1
316332 - 0002 | GCU Positioning Guiding Rail-2 | CM GPM PGR2 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 2
316332 - 0003 | GCU Focussing Guiding Rail-1 | CM GPM FGR1 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 3
316332 - 0004 | GCU Focussing Guiding Rail-2 | CM GPM FGR2 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 4
316332 - 0005 | GCU Guiding Slides-1 | CM GPM GS1 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 5
316332 - 0006 | GCU Guiding Slides-2 | CM GPM GS2 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 6
316332 - 0007 | GCU Guiding Slides-3 | CM GPM GS3 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 7
316332 - 0008 | GCU Guiding Slides-4 | CM GPM GS4 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 8
316332 - 0009 | GCU Guiding Slides-5 | CM GPM GS5 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 9
316332 - 0010 | GCU Guiding Slides-6 | CM GPM GS6 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 10
316332 - 0011 | GCU Guiding Slides-7 | CM GPM GS7 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 11
316332 - 0012 | GCU Guiding Slides-8 | CM GPM GS8 | 7 | 3 | 1 | 6 | 3 | 3 | 2 | 12
| Part developed by Noah |  | -
317000 - 0000 | AO Calibration Unit | AOCU | 3 | 3 | 1 | 7 | 0 | 0 | 0 | 0
-
318000 - 0000 | Calibration Module Support Structure | CMSS | 3 | 3 | 1 | 8 | 0 | 0 | 0 | 0
318100 - 0000 | Calibration Module Bench | CMB | 4 | 3 | 1 | 8 | 1 | 0 | 0 | 0
318200 - 0000 | Calibration Module Electrical Services Harness | CMESH | 4 | 3 | 1 | 8 | 2 | 0 | 0 | 0
318210 - 0000 | GCU Cable Wrap | CM GCW | 5 | 3 | 1 | 8 | 2 | 1 | 0 | 0
318220 - 0000 | ICU&AOCU Cable Wrap | CM IAOCW | 5 | 3 | 1 | 8 | 2 | 2 | 0 | 0
318230 - 0000 | Calibration Module Connector Panel | CM CP | 5 | 3 | 1 | 8 | 2 | 3 | 0 | 0
318231 - 0000 | Connectors | CM CP C | 6 | 3 | 1 | 8 | 2 | 3 | 1 | 0
318240 - 0000 | Calibration Module Internal Cables | CM IC | 5 | 3 | 1 | 8 | 2 | 4 | 0 | 0
319000 - 0000 | Calibration Module Support Equipment | CMSE | 3 | 3 | 1 | 9 | 0 | 0 | 0 | 0
319100 - 0000 | Calibration Module Internal Protection Enclosures | CMIPE | 4 | 3 | 1 | 9 | 1 | 0 | 0 | 0
319110 - 0000 | GCU Handling Protection Enclosure | CM PE G | 5 | 3 | 1 | 9 | 1 | 1 | 0 | 0
319120 - 0000 | IFS Relay Handling Protection Enclosure | CM PE RO | 5 | 3 | 1 | 9 | 1 | 2 | 0 | 0
319130 - 0000 | IFS Masks Wheel Handling Protection Enclosure | CM PE MW | 5 | 3 | 1 | 9 | 1 | 3 | 0 | 0
319140 - 0000 | IFS Uniform Source Handling Protection Enclosure | CM PE US | 5 | 3 | 1 | 9 | 1 | 4 | 0 | 0
319200 - 0000 | Calibration Module Handling Tool | CMHT | 4 | 3 | 1 | 9 | 2 | 0 | 0 | 0
319300 - 0000 | Back Looking Pupil Reference Assembly | BLPRA | 4 | 3 | 1 | 9 | 3 | 0 | 0 | 0
319310 - 0000 | Back Looking Pupil Reference | BLPR | 5 | 3 | 1 | 9 | 3 | 1 | 0 | 0
319320 - 0000 | Back Looking Pupil Reference Mount | BLPRM | 5 | 3 | 1 | 9 | 3 | 2 | 0 | 0
319400 - 0000 | Calibration Module Subsystem Documentation | CMSD | 4 | 3 | 1 | 9 | 4 | 0 | 0 | 0